(1)	TESTING AND ACCEPTANCE

The vendor shall perform all factory inspections and tests that are necessary to demonstrate compliance with the above specifications. Test procedures shall be mutually agreed upon by the vendor and the University in writing.  .

Acceptance testing will occur within 30 days after the Contractor states the System is installed and ready to perform in compliance with specifications.  ________________________department staff and will consist of verification of the parameters set forth in the specifications.

If System does not meet standard performance expectations, Contract will have 30 days to meet standards or remove the System from the department.  If the System is brought into compliance within 30 days, department will have another full 30 days testing period.  If the System still does not perform to specifications, Contractor agrees to remove the system and return all payments that have been made.

(2)	TESTING AND ACCEPTANCE:

If the Department of Physics Determines that Testing of the product bid is necessary, Testing will occur within 30 days after the contractor delivers the product or sample ordered.  University of Wisconsin Department of Physics staff will perform acceptance testing.  This testing will consist of verification of the parameters set forth in the specifications.  This 30 day trial shall begin one (1) day after the product is available for testing.

If equipment does not meet standard performance expectations, contractor will have 30 days to meet standard or remove from University of Wisconsin premises.  Faulty product must be replaced within 30 days.  University of Wisconsin will have another full 60 days testing period to test replacement product.  If products still do not perform to specifications, contractor agrees to remove equipment and return all payments that have been made.

Final Acceptance:

Sergei Lusin is the only authorized personnel that can sign an acceptance of quality agreement.  Such an agreement will not be signed until a 30 day trial period of the product occurs.  Warranty period will begin on the date the Quality Agreement is signed by Sergei Lusin and the product is officially accepted.